Appendix A
Revised Pakistan-Local Budget and Prediction Framework
for a Rooftop PM2.5 Forecasting Project

Purpose. This appendix updates the earlier low-cost rooftop PM2.5 project budget to support forecasting and predictive modelling. The revised Priority 1 design emphasizes PM forecasting covariates, especially pressure, rain-event sensing, time variables, activity logs, and continuous wind information from public weather feeds.

Budget note. The revised design replaces the earlier DHT22-only weather context with a BME280 module so that the system captures temperature, humidity, and pressure together. A low-cost rain module is also added. Because the local search did not surface a robust low-cost integrated wind-direction module for the maker build, wind direction is included as an external hourly feature from the nearest public weather feed. An optional handheld anemometer is listed as a field-validation tool.

Core automated build total: PKR 9,046

Core + validation total: PKR 11,136

| S.No. | Item | Selected Option | Vendor | Price (PKR) | Role |
| --- | --- | --- | --- | --- | --- |
| 1 | PM sensor (local surfaced laser PM option) | PMS7003 PM1/PM2.5/PM10 sensor | Daraz | 4,589 | Primary PM target sensor used for local budgeting |
| 2 | Controller | ESP32 WROOM-32D development board | Hallroad Lahore / Epro | 1,150 | Main data logger and controller |
| 3 | Environmental sensor | BME280 temperature / humidity / pressure sensor | Hallroad Lahore | 650 | Replaces DHT22 and adds barometric pressure for forecasting features |
| 4 | Data logging module | Arduino microSD card reader module | Hallroad Lahore | 147 | SPI logging to local storage |
| 5 | Storage media | Samsung EVO Plus 16GB microSD | Daraz | 989 | Branded media for reliable long-term logging |
| 6 | Weather enclosure | Waterproof DIY enclosure | Hallroad Lahore | 343 | Rooftop protection for controller and logger |
| 7 | Jumper / hookup wires | 20cm mixed jumper wire kit | Daraz | 199 | Prototype and sensor interconnection |
| 8 | Power supply | 5V 2A power supply with cable | Hallroad Lahore | 294 | Stable system power |
| 9 | Mounting accessory | 100 pcs cable ties | Daraz | 100 | Cable management and mounting support |
| 10 | Mounting accessory | Pack of 2 stainless 2-inch hose clamps | Daraz | 139 | Pole / pipe mounting for enclosure or bracket |
| 11 | Radiation shield material | White plastic plate set | Daraz | 299 | Low-cost sun shield material |
| 12 | Rainfall proxy sensor | Rain drops detection sensor module | Hallroad Lahore | 147 | Low-cost rain event indicator |

Optional field-validation tool: Handheld digital anemometer — PKR 2,090 (for spot-check wind measurements).

Forecasting framework summary. The recommended modelling stack uses PM2.5 as the target and combines particulate lags, BME280 meteorology, rain-event flags, public wind features, time variables, and manual traffic / activity logs. Baselines should begin with persistence and linear models, then move to tree-based models such as Random Forest, XGBoost, or LightGBM. Validation should use walk-forward testing rather than a random split.

Main feature groups:

PM2.5 concentration (PMS7003 PM2.5) — Primary variable to forecast

PM2.5(t-1..t-24) (Derived from sensor log) — Captures persistence / autocorrelation

PM10(t-1..t-24) (PMS7003 PM10) — Useful companion particulate predictor

PM1(t-1..t-24) (PMS7003 PM1) — Available from PMS7003 if logged

Temperature (BME280) — Forecasting covariate

Relative humidity (BME280) — Forecasting covariate

Pressure (BME280) — Represents weather-system / dispersion changes

Rain event flag (Rain drop sensor) — Cheap wetness proxy / cleansing event indicator

Wind speed (Public weather feed (+ optional handheld validation)) — Dispersion / transport covariate

Wind direction (Public weather feed) — Source-region / transport covariate

Business operationalization. Forecasts should not remain purely academic outputs. They should be translated into operational decision rules such as HVAC adjustment, rescheduling outdoor tasks, strengthening dust suppression, staff protection advisories, and exposure-aware service timing.

Facilities / campuses: Forecast PM2.5 high in next 3–6 h -> Increase indoor filtration, reduce fresh-air intake if appropriate, reschedule outdoor maintenance, advise mask use for sensitive groups.

Construction / site work: High PM2.5 + low wind dispersion -> Reduce dust-generating activity windows, increase wet suppression, move outdoor tasks to cleaner windows.

Logistics / delivery hubs: Morning peak forecast -> Shift loading/unloading and route dispatch to lower-exposure periods where operationally feasible.

Retail / hospitality: Poor air quality episode -> Adjust HVAC settings, display indoor-air messaging, protect staff in outdoor-facing roles.

ESG / HSE reporting: Repeated exceedance risk -> Use alerts for incident logs, mitigation records, and business continuity planning.

Key local source references used in this appendix:

PMS7003 local PM listing — Rs. 4,589 — turn8search57

ESP32 WROOM-32D Hallroad listing — Rs. 1,150 — turn8search23

ESP32 NodeMCU Epro listing — Rs. 1,150 — turn8search24

BME280 Hallroad listing — Rs. 650 — turn11search156

BME280 Electrobes listing — Rs. 850 — turn11search148

microSD module Hallroad listing — Rs. 147 — turn8search32

Samsung 16GB microSD Daraz listing — Rs. 989 — turn8search11

Waterproof enclosure Hallroad listing — Rs. 343 — turn8search17

Mixed jumper kit Daraz listing — Rs. 199 — turn9search85

5V 2A power supply with cable Hallroad — Rs. 294 — turn8search42